        SiW Ecal Performance
in FNAL Testbeam May/July Running
        Roman Pöschl
        LAL Orsay
- Data Collected with the Ecal
- Ecal in July running
- Collected Data and Glimpse on Quality
- Summary and Conclusion
Disclaimer: I will concentrate on the July Running
For May Running see
http://ilcagenda.linearcollider.org/conferenceDisplay.py?confId=2631
       Most of the work was made by Hengne Li
CALICE Collaboration Meeting Manchester/UK Sept. 2008

---
        The Ecal in the Testbeam ...
        ...simply great ....
        Detector in testbeam(s) since 2005
A big 'thank you' to all the people involved in the project
        let's plunge into the details

---
Ecal Configuration @ FNAL
Hengne Li

---
Sketch of the beamline
A.Kaplan, H.Li

---
SiW Ecal in FNAL Beamline
Ecal ready to take data by 25th of April
as all the other CALICE Equipment

---
SiW Ecal Crew @ FNAL
Picture courtesy of I. Polak

---
“Luminosity” - Recorded Data
Combined Data May/July
Calibration/"Physics"
Calibration Slow
May
Calibration Fast
July
Physics
Total: 17.3 kEvens in beamData Runs
~20% Calibration Data, i.e. muons
Fast/Slow Trigger Data
All data recorded
with Ecal on
~25% with Fast Trigger (mostly e-)

---
Issues of Ecal Running during July
- Extensive 'repair' work beginning of July (P. Cornebise LAL)
  Proper common ground
  Isolation of Detector from Chassis
  Still looks as if the power connectors
- (More or less) Quiet Running during 'Fast Trigger' data taking and initial
  Slow Trigger Data Taking
  -> Figure
- Noisy Layers/Pedestal Shifts back with us as we started the shifted
  program
  -> Figure
- Hot whether at FNAL lead Ecal Currents in Bias Voltage Supply Chain
  to increase beyond 250 μA
  Ecal is expensive thermometer Gradient ~10 μA/degC
  No impact on Ecal Noise observed, steady monitoring with emcNoise runs
  Night running clearly enhances the efficiency of Ecal
- Ecal shipped back to Europe for repair work
  Dead Cells in bottom part

---
Impressions from the Ecal Running I
Ecal Noise largely tamed
No noisy layers for > 90% of time
Suggest to prepare data analysis such that Events with Ped. Shifts are simply
rejected not corrected

---
Impressions from the Ecal Running II

---
Runs with Fast Trigger - “Ecal Program”

---
General Remarks on DQ
Ecal spectrum
e-
μ
2e-
- Large μ
  contamination
- Multiparticle events
  (e.g. up to 5 π's)
- Where Cerenkov
  is missing Ecal
  can be used to
  separate particles
π-
Hengne Li, LAL

---
Hengne Li, LAL

---
Hengne Li, LAL

---
Hengne Li, LAL

---
Hit Maps ...
Marcel Reinhard, LLR
Dead Cells in bottom layers – Main reason for repatriation of Ecal

---
First Steps towards Calibration (“Fast Trigger” Mode)
Dependency on
Production series
number
Central Slabs
Bottom Left Slabs
Bottom Right Slabs
Hengne Li, LAL

---
Running at Different Hold Values
Have to take data at “non”-optimal
hold position due to
delay of Cerenkov Signal
Example
Analysis of Muon Runs
Hengne Li, LAL
- Larger MIP value when running “on-hold- peak”, as expected
- Noise 20% larger when running “off-hold-peak” very large
  effect, not understood (expect ~1%)

---
Summary and Conclusion
- Successful data taking with SiW Ecal at FNAL
  17.3 Mio. Triggers recorded with Ecal
- No Pedestal Shifts for a large fraction of the data
- Calibration for 2008 is on its way
- Hold Story needs to be understood
  Valuable Reference sample at “optimal” hold value
  “Fast Trigger” Running
- Ecal shipped back to Europe for maintenance/repair work
  Grounding and Connector Issues
  Dead (?) Cells in Lower Slabs
- (Getting) Ready for Data Taking with the DHCAL

---
Backup Slides

---
Breakdown of recorded data I – Slow Trigger
Pi- Data
Pi+ Data
kEvents
kEvents
E/GeV
E/GeV
Mixed Data, Polarity -
kEvents
Mainly during commissioning phase
Managed to accumulate
hadron data at both polarities
Significant larger sample at negative
polarities
E/GeV

---
Breakdown of recorded data II – Slow Trigger/”Special” Data
Rotated Det. - 30 Deg.
Rotated Det. - 20 Deg.
kEvents
kEvents
E/GeV
E/GeV
Rotated Det. - 10 Deg.
kEvents
Rotation program suffered most
from significant beam down time
Still, considerable amount of data
collected
Mainly
commissioning
run
To this adds a shifted detector
program with total ~500k Triggers
at 10 and 30 GeV
and high energy proton running
160k Events
E/GeV

---
Breakdown of recorded data III – Fast Trigger
e- Data
e+ Data
kEvents
kEvents
E/GeV
E/GeV
Mixed Data, Polarity +/-
Considerable samples at small
energies with fully equipped Ecal
Pion content increases gradually
with increasing energy
Mainly during
commissioning
phase