CERN 08 Test Beam
Results on RPC sDHCAL
Vincent Boudry
Robert Kieffer
Khaled Belkadhi
Imad Laktineh
CALICE meeting
19-20 Feb. 2009
Kyungpook Nat'l U., Daegu, Korea

---
Synoptic
- GRPC detectors
- TB & Data taking
  - CERN 08
- Mip efficiency & multiplicity analysis
  - vs HT, Threshold, position, gas, angle particle flux
- Start of hadronic shower
- Noise study
  - RPC, MGRPC
- Hints of Uniformity
- Time reconstruction
- Future plans
Robert &
Imad
Khaled &
Vincent

---
RPC Gaseous detector prototypes
TFE 93%
Isobutane 5%
SF6 2%
- GRPC (IHEP, IPNL)
  - simple, robust,
    rate ≤ a few 100 Hz/cm²
    - 1.2 mm gas gap
    - 400	 µm glass plate
    - Graphite/Licron/Statguard resistive cover
    - ~ 7.4 kV → Avalanche mode
- Multi-gap RPC (INFN Bologna-CERN)
  - Higher rates & efficiency
  - Idem Alice ToF system
    - 4 x 250µm gas gaps
    - 400 µm inner glass plates
    - 550 µm ext. glass plates
    - ~ 10—12 kV
HV
Signal
Graphite
Resistive plates
Gas
Pick-up pads
Cathode -12 kV
Anode 0 V
(-3 kV)
(-6 kV)
(-9 kV)
Signal electrode

---
GRPC response
GRPC spectra (From Protvino laboratory)
Schematical view of the GRPC
- mip → 8-10 ionisations per mm
- exponential gain G ~ 106–7
  - Sensitive only to the 1-2 first (from cathode) ionisations
  - Q ~ 3 pC
- Inductive readout
Moy: 2.6pC
RMS: 1.6pC
[Speaker Notes: TFE: ThetraFluoroEthane (liquide friogène) SF6 ("electron quencher") Isobu- tane ("photon quencher") cathode pour les ions / anode éléctrons (lecture sur anode) Streamer: recombinaison-> photon->autres ionisations en cascades]

---
GRPC readout
(Used for the lasts TestBeams)
Readout circuit boards “DHCAL1” developed by IPNL, LLR and LAL:
→ 8 layers PCB, total thickness 800µm
→ ASICs: HARDROC1 (64 semi-digital channels )
→ 4 daisy chained ASICs on board
→ 256 [(4×8)×8] sensitive pads (1×1 cm²)
HARDROC’s config parameters:
Adjustable gain for each channel to calibrate
Two thresholds (independent, per ASIC)
Data:
LabView + USB based DAQ (~20 Hz for 4 boards)
For each triggered ASIC: Timing Flag + Thresholds maps
Slab
FE
FPGA
PHY
Data
Clock+Config+Control
VFE
ASIC
Conf/
Clock
VFE
ASIC
VFE
ASIC
VFE
ASIC
RamFull

---
Equivalence between digital threshold and charge
Mean value: 1 DAC u = 2±0,1 fC
Linear dynamic range: 800fC

---
Detectors in test beam
July-August 2008: 4 RPC 32×8 cm2
November 2008: 5 RPC 32×8 cm2 (with one multi-gap RPC)

---
Beam test periods
PS: Mostly π (3-12 GeV) + few μ, very few e-
PS T10 17—24 july with the EUDET telescope:	~260k trig evts
  - With EUDET Pixel Telescope: 7×7 mm² active sensors
  - Angle & position scans
  - Other data: trigger large scintillators (10×40 cm²)
PS T9: 28/07 — 04/08	~80k trig evts
  - Complement Pion data with 2 λ of W, angular scan
  - Analogue readout of 1 chamber
  - Test of a wide RPC: 100×35cm² (readout with 4 PCB ⇒ ~32×32cm²)
PS T9: 07/11 — 12/08	~65k trig evts
  - Shared test with µMegas (≠set-up); Multi-Gap RPC
  - Complement test: HV scan, thr. Scan, CO2 (as repl. of Isobutane), Beam intensity scan
  - Tentative: m2 + 24 HR1 PCB + new DAQ elec & soft (DIF)

---
HV scan
Threshold: 120 fC
Plateau: 7.2 — 8 kV
Efficiency between 80 and 98%
Best ratio Multiplicity/Efficiency: @ 7.4 kV
Variations for Graphite
All solution ~ OK with a.h. HV
Slight advantage for Licron®:
lower multiplicity on plateau

---
Threshold scan
- Moving ASIC’s threshold → Charge Spectra
- But the ASIC’s dynamic range was too small,
  - possible with HaRDROC2 → to be repeated
- Multiplicity: the effect of threshold is as expected.

---
Use of Eudet Pixel telescope @ CERN
- small surface: ~7×7mm²
- 2 independent DAQ's
  - → Shift of 1 evt
- Track precision: ≤5 μm
Eudet Telescope
 photogrammetric spots
used for alignment
Moveable table

---
Spatial efficiency using EuTel track reconstruction
Black (Trigger): spatial prediction of hits in GRPC, from EuTel.
Red : matched digital hits (EuTel + GRPC)
Preliminary
µm
Efficiency: Red/Black
- No inter-pad drop
  - 0.5 mm
- Edge effect & avalanche size: ~ 30mm
Interpads
Edge
µm
Efficiency
Counts

---
Efficiency vs Impact Angle
Efficiency is quite constant, even for large angles.
→ ideal for PFA: uniform particle response (ε, μ) in shower & at all angle in a large detector of the future experiment.

---
Gas : CO2 vs Isobutane
Preliminary
These firsts tests using CO2 , are quite promising.
Note: Complementary measurements have to be done to comfirm these results.

---
Evolution of performances with particle flux
Preliminary
We made some correlations between flux measurement done with scintillators, and efficiency of the chambers.
It gives us some preliminary results about GRPC running in real beam conditions.
Note: The flux measurement was not very precise, we have to make some complementary measurements to confirm these results.

---
RPC vs. Multi-Gap RPCs
600 fC
100 fC
Preliminary results:
Somewhat higher efficiency
Very high multiplicity
⇒ useful for sDHCAL ?
MGRPC-Bologna

---
Hadronic showers
Preliminary
GRPCs
Hadronic shower are mostly not contained in Mini-DHCAL (~ ½ λI)
⇒ first idea of shower development and energy deposition.
Absorber
Absorber
Absorber
Absorber

---
Timing: single event + auto-trig
Many More stat
Available “in train” with proper time reconstruction
Expectation: ≥30
Trigger
“1 trig'd evt”
ASIC #
(4 / Card)
# entrées / Trigger
time
- CERN PS: 400 ms spills every 48 or 33s (day/night cycles).
- Running mode: single event with auto trig
  + BUSY logic & automatic RAMFULL recovery (⊃ BUSY signal)
Card 1
Card 2
Card 3
Card 4

---
Time difference between hits in Asics
Time correlation between ASICs
(3,2)
(1,2)
Pics @ ±200ns
(and ±100ns)
Intercalibration
δf/f ≤ 0.5 ppm
(4,3)
(4,2)
Time → trigger/ μs
Δt (ASICs)

---
Noise & signal
All events
Prevous spill
Current spill
t > -50ms
1800ms< t < -50ms
All: ~ 493000 hits
Noise (between the two spills) ~ 78000
Signal >-50ms ~ 387000 → 78%

---
The multi-gap RPC Chamber
MGRPC-Bologna

---
Noise & efficiency study
Run00101
Hit rates for each triggered event
Board 4
Board 3
2.9 Hz / 64 cm²
= 0.045Hz/cell
=~1 hit/BC for
   50M chan
Board 2
×15 or this one
Board 1
History of full detector
limited by noisiest board
(due to RAMfull reset of
triggered DAQ mode)
Current spill
Previous spill
To be taken into account in
all train mode analysis
→ Info to keep in reconstruction
ASIC ID

---
1 gap GRPC Uniformity (⚠ prelim ⚠)
Very preliminary	(global selection on noise)
⇒ Proof of principle
⇒ Hints of flatness of efficiency
VERY PRELIMINARY

---
1 ASIC History reconstruction
Time in μs
time = (BC-LastBC) × τBC – DiffCounter × τDiffCounter
“Out of spill” = Noise
BC
“In spill” = signal+noise
Index in ASIC memory (reversed)
Counter overflow ~ 3s
(224 × 200ns)

---
Full rec. spectrum
Beam structure
(spills)
-30 s

---
Future plans
- Finish external triggered data analysis
  - vs environmental data (t°, Patm)
  - Shower development
    - clustering
  - Validate simulation & digitisation on data
- Finalise train reconstruction
  - → High stat of Hit (ijk, xyz, t, tprev) {see Manqi's talk}
    - validation of data format completeness
  - Redo all analysis for checking +
    - Mapping
    - Time to previous ⇒ HV recovery behaviour
    - Check needed info for train analysis
- Publish...

---
Merci à...
- Nick Lumb
- Muriel Vander Donckt
- Christophe Combaret
- Rodolphe Della Negra
- Emmanuel Latour
- Marc Bedjidian
- Florent Schirra
- Alexis Eynard
- Clément Jauffret
- Manqi Ruan
- Mary-Cruz Fouz
- Enrique Alamillo
- Jesus Cresus